	File Name
	
	Version：  
	

	File Serial No.
	
	Effective Date：   
	



1 Scope

This procedure is applicable to the preparation process of  TG reagent
2 Procedures
2.1 Preparation process of  TG Kit R（500mL）
2.1.1 Composition and storage conditions：
	No.
	Composition
	storage conditions
	Appearance
	Quantity（vial）

	1
	TG R Concentrate
	2-8℃
	Liquid
	1


2.1.2  operation steps
a Pour TG R Concentrate into a clean bucket with a capacity of at least 500mL.
b Rinse the raw material bottle repeatedly with 50-100mL of deionized water, at least 3 times. After rinsing, add all the water to the container in section 2.1 .2.a and stir evenly.
c Weigh to 509g (500mL) with deionized water ( density :1.018g/mL)
d The reagent is stored at 2-8 ℃ and can be stored for 18 months.
2.1.3  Precautions

i. During the preparation process, pay attention to mixing well, Wear disposable masks and PE gloves to avoid the impact of the product on personnel, as well as to avoid the impact of foreign objects on the hands, mouth, and skin on the product.
ii. Concentrate may be precipitated or turbid during low temperature storage, and the result will not be affected after dilution and filtration.
	
	
	

	Prepared by： 
	Reviewer：
	Approved by：

	Date：
	Date：
	Date：


